## Slide 1
Aquifer Storage and Recovery (ASR)
MCWRA-SVBGSA Joint Workshop on Groundwater Sustainability
May 18, 2026 | Integrated Implementation Strategy
Monterey County Water Resources Agency & Salinas Valley Basin Groundwater Sustainability Agency

## Slide 2
Project Overview
MCWRA-SVBGSA Joint Workshop | May 18, 2026 | ASR
Integrated Implementation Strategy
ASR addresses seawater intrusion in the 180/400-Foot Aquifer Subbasin by maximizing surface water diversion, injecting treated surface water to raise groundwater elevations, and reducing pumping. Project concepts include:
Shift SRDF diversion season or construct new diversion
New surface water treatment and conveyance to ASR wells
ASR or injection only wells, recovery by CSIP wells

## Slide 3
Scenarios Evaluated
1
Wet Season Releases to SRDF with ASR
Shift SRDF diversion to capture winter flows
Inject into 180-Ft and 400-Ft Aquifers
Recover stored water for CSIP in growing season
Requires reservoir operational changes
2
New Diversion: ASR in Both Aquifers
New diversion facility for winter high flows
SRDF/CSIP operates as usual Apr-Oct
Inject in 180-Ft and 400-Ft Aquifers
Requires new/modified water right
3
New Diversion: 400-Ft Injection Only
New diversion of winter high flows
Injection only in 400-Ft Aquifer
No extraction from ASR wells
Targets deeper aquifer recharge
MCWRA-SVBGSA Joint Workshop | May 18, 2026 | ASR
Integrated Implementation Strategy

## Slide 4
Project: Wet Season Releases to SRDF with ASR
MCWRA-SVBGSA Joint Workshop | May 18, 2026 | ASR
Integrated Implementation Strategy

## Slide 5
Project: New Diversion of Winter High Flows for ASR
MCWRA-SVBGSA Joint Workshop | May 18, 2026 | ASR
Integrated Implementation Strategy

## Slide 6
Key Findings
MCWRA-SVBGSA Joint Workshop | May 18, 2026 | ASR
Integrated Implementation Strategy
✓
Significant physical and regulatory constraints with reservoir and SRDF operations to capture higher flows during wet season
✓
✓
Modest increases in groundwater levels near injection, but does not achieve SWI minimum threshold
✓
Modified SRDF water right or new water right needed
Existing CSIP and SRDF infrastructure upgrades needed
✓
Existing CSIP and SRDF infrastructure upgrades needed
Diversion of of 6,700 AFY to 12,900 AFY estimated for treatment and injection

## Slide 7
Cost Estimates
MCWRA-SVBGSA Joint Workshop | May 18, 2026 | ASR
Integrated Implementation Strategy
$278M-$383M
Capital Cost
$5M-$9M/yr
Annual O&M Cost
$1,781-$2,269/AF
Unit Cost
Cost Components
New diversion facility or SRDF modifications
Surface water treatment plant
ASR/injection well network (16+ wells)

## Slide 8
Effectiveness: Seawater Intrusion
MCWRA-SVBGSA Joint Workshop | May 18, 2026 | ASR
Integrated Implementation Strategy
Seawater Intrusion (SWI)
Raises hydraulic gradient near injection wells but SWI passes through in between them
Neither scenario achieves SWI minimum threshold
Some improvement near City of Salinas
[SWI modeling results map / chloride concentration comparison]

## Slide 9
Effectiveness: Groundwater Levels
MCWRA-SVBGSA Joint Workshop | May 18, 2026 | ASR
Integrated Implementation Strategy
Groundwater Levels
Raises GW elevations near injection wells, but not enough to get above sea level
Localized GW improvements near ASR wells

## Slide 10
Questions & Discussion
Sarah Hardgrave
SVBGSA Deputy General Manager
hardgraves@svbgsa.org
MCWRA-SVBGSA Joint Workshop | May 18, 2026 | ASR
Integrated Implementation Strategy